## Slide 1: Prediction of Mortality from 12-Lead Electrocardiogram Voltage Data Using a Deep Neural Network
Raghunath, S., Ulloa Cerna, A.E., Jing, L. et al.
Nature Medicine 26, 886-891 (2020)
Paper Review by Brenton Graham

## Slide 2: Background
The electrocardiogram (ECG) is a widely used medical test that measures the heart’s voltage over time
Despite widespread use, not well adopted as a prognostic tool
Can we use ECGs to predict clinical events?
Hypothesis
A deep neural network (specifically CNN) can predict an important future
clinical event (1-year all cause mortality) from ECG traces
Hypothesis

## Slide 3: 12-Lead ECGs
12-lead ECG measures the heart from 12 angles
  6 Limb Leads – Look at the heart in a vertical plane
    Leads I, II, III
    Leads aVR, aVL, aVF
  6 Chest Leads – Look at the heart in a horizontal plane
    Leads V1, V2, V3
    Leads V4, V5, V6
Electrode Placement

## Slide 4: 12-Lead ECGs
15 traces per ECG
  All 12 leads have traces of 2.5s in duration (measured in groups of three)
  Leads V1, II and V5 have additional traces of 10s in duration (long-reads)
I, II, III
aVR, aVL, aVF
V1, V2, V3
V4, V5, V6
2.5sec
2.5sec
2.5sec
2.5sec
10sec
10sec
10sec
Long-Reads
Leads V1, II, V5
Short-Reads
12-Lead ECG

## Slide 5
Data
Data from institutional clinical MUSE database (1984 – 2019)
Inclusion criteria
  ECGs screened for data quality
  ECGs associated with at least 1 year of follow-up or death within a year
  Patients 18 years or older
Hold-out test set
  Single random ECG was chosen for each patient to avoid overrepresenting sicker patients who undergo more ECGs

## Slide 6
Convolutional neural network (CNN) using five branches
Each branch has input of three leads (as channels) that are concurrent in time (acquired during the same heartbeats)
  Helps account for arrhythmias
A convolutional block consisted of…
  One-dimensional convolution layer
  Batch normalization
  Rectified linear unit (ReLU) activation
‘Short-read’ branches (4) consisted of 4 convolutional blocks followed by a global average pooling (GAP) layer
‘Long-read’ branch consisted of 6 convolutional blocks followed by a global average pooling (GAP) layer
The outputs of all branches were concatenated and connected to a series of six dense layers
  256 (with dropout), 128 (with dropout), 64, 32, 8 and 1 unit(s) with a sigmoid function as the final layer
CNN Architecture
Long-Read Branch
Short-Read Branches

## Slide 7: CNN Hyperparameters
Adam optimizer
Learning rate: 1 x 10-5
Batch size set to 2,048
All other hyperparameters set to default

## Slide 8: All Models
Model Type | Test Data Sets |  | 
Model | All ECGs | Normal ECGs | Abnormal ECGs
CNN | ECG Traces ECG Traces + Age, Sex* |  | 
XGBoost (Baseline Models) | ECG Measures Age, Sex ECG Measures + Age, Sex |  | 
A collection of models/data sets were used to assess CNN model performance

## Slide 9: Various Feature Sets
Model Type | Test Data Sets |  | 
Model | All ECGs | Normal ECGs | Abnormal ECGs
CNN | ECG Traces ECG Traces + Age, Sex |  | 
XGBoost (Baseline Models) | ECG Measures Age, Sex ECG Measures + Age, Sex |  | 
12-Lead ECG Trace Images (Feature Set of Interest)
  Modeled with CNN
  These are the ‘novel’ models in the paper

## Slide 10: Various Feature Sets
Model Type | Test Data Sets |  | 
Model | All ECGs | Normal ECGs | Abnormal ECGs
CNN | ECG Traces ECG Traces + Age, Sex |  | 
XGBoost (Baseline Models) | ECG Measures ECG Measures + Age, Sex Age, Sex |  | 
ECG Measures
  Traditional quantitative ECG measures parsed from clinical reports
  Includes 31 diagnostic pattern classes and 9 continuous measurements
  Modeled using XGBoost framework
  This feature set/classification results serve as a baseline to compare CNN to

## Slide 11: Various Feature Sets
Model Type | Test Data Sets |  | 
Model | All ECGs | Normal ECGs | Abnormal ECGs
CNN (Novel Models) | ECG Traces ECG Traces + Age, Sex |  | 
XGBoost | ECG Measures ECG Measures + Age, Sex Age, Sex |  | 
Age & Sex
  Additive features
  Modeled independently using XGBoost framework

## Slide 12: Performance on Normal ECGs
Results Reported for 3 Sets of ECGs
  Can the CNN perform well on ECGs that are interpreted as normal by physicians?
  Normal ECGs: ECGs without easily recognizable high-risk factors
  All models trained on all ECGs (both normal and abnormal)
Model Type | Test Data Sets |  | 
Model | All ECGs | Normal ECGs | Abnormal ECGs
CNN (Novel Models) | ECG Traces ECG Traces + Age, Sex* |  | 
XGBoost (Baseline Models) | ECG Measures ECG Measures + Age, Sex Age, Sex |  | 

## Slide 13: Model Comparisons
ROC-AUC for All ECGs
Common Risk Scoring Methods
Framingham Risk Score (FRS): AUC 0.648
Charlson Comorbidity Index (CCI): AUC 0.816
Model | Feature Set | AUC
CNN | ECG traces + Age, Sex | 0.870 + 0.006
XGB | ECG measures + Age, Sex | 0.859 + 0.002
CNN | ECG traces | 0.859 + 0.001
XGB | ECG measures | 0.820 + 0.002
XGB | Age, Sex | 0.772 + 0.002
*AUCs from 5-fold CV

## Slide 14: Model Comparisons
ROC-AUC for Normal ECGs
AUC of CNN from 5-fold CV: 0.833 + 0.001
CNN vs XGBoost
  “CNN generally outperformed XGB”
  Confidence intervals of the mean AUCs overlapped when including age and sex

## Slide 15: Model Comparisons
PR-AUC

## Slide 16: Survival Analysis
Kaplan-Meier Median Survival Times
Cox PH Regression Model
  CNN prediction of 1-year mortality is a significant discriminator of long-term survival for up to 25yrs
ECG Type | Predicted Alive at 1-Yr | Predicted Dead at 1-Yr
Normal ECG | >25yr | 7
Abnormal ECG | 21 | 4
ECG Type | HR (95% CI) Predicted Dead vs Alive at 1-Yr
Normal ECG | 9.1 (7.3 – 11.0)*
Abnormal ECG | 6.8 (6.2 – 7.6)

## Slide 17: Practical Applications
Mortality prediction is useful in numerous clinical contexts
  Physicians and cardiologists use risk prediction tools to assess the safety of elective surgical procedures and guide therapy for prevention of cardiovascular disease
‘Normal’ ECGs may be giving false reassurance in clinical settings

## Slide 18: Potential Weaknesses
Much improvement of the CNN compared to XGBoost?
  Computational considerations
  Perhaps some hyperparameter tuning could improve XGBoost results
  Are traditional ECG measures more common/available in practice?
Model interpretability
  Limited ability to define the basis for model predictions
Choosing 1-year all-cause mortality as the the outcome of interest
  Could CVD-related mortality be more appropriate for potential applications?

## Slide 19: Strengths
CNN architecture
  Nice example of an architecture that accounts for biologically important data structures
Demonstrated that CNNs can use ECG traces effectively for prediction
  Don’t need to rely on traditional quantitative measures being available
  Traditional measures associated with some levels of missingness (up to 12% missing for some measures in this data set)